## Master list-All
| TEST EQUIPMENT LIST | Global EMC Labs |  | Legend |  | *Ref = For Reference Only |  |  | Note: Use 5xx for rental GEMC IDs
| Document No. | R-111 |  |  |  | *DNU = Do Not Use Until Calibrated/Checked |  |  | Note Use 6xxx for former Marstech Equipment
| Rev | 15 |  |  |  | *NGE = Non-GEMC Equipment
| Date | Feb 6 2017 |  |  |  | *NCR = No Cal required
| Issued | AM / SV |  |  |  | E/H/X - Electronic Copy/Hard copy/Not Applicable
| Approved |  |  |  |  | ZZZ = Destroyed
| Next GEMC Id | 328
Equipment | Model # | Manufacturer | Calibration date (dd-mm-yyy) | Due Date (dd-mm-yyyy) | Equipment ID# (GEMC xxx) | S/N | Labelled | Calibrations | Location | Manual | Cal'n Cert Rec'd / On File
Minizap ESD Simulator | Minizap | Thermo Electron Corp | 2019-02-15 | 2021-02-15 | 1 | 401254 | Labelled | A2LA | Collins | H | Y / E
Signal Generator | SMT 03 | Rhode and Schwarz | NCR | NCR | 2 | 841277/035 | Labelled | in house | Collins | H
Log Antenna | SAS 200/510 | AH Systems | NCR | NCR | 3 | 902 | Labelled | A2LA | Collins | E | N/A
Immunity generator | EMC Pro Plus | Keytek Thermo Corp | 2019-01-08 | 2021-01-08 | 4 | 0411226 | Labelled | A2LA | Collins | H
CCL Clamp | EMC Pro Plus | Keytek Thermo Corp | 2019-01-08 | 2021-01-08 | 5 | 0607258 | Labelled | A2LA | Collins | H
Spectrum Analyzer | 8566B | HP | NCR | NCR | 6 | 2747A04611 | Labelled | NIST Traceable | Collins | H | Y / Y
Quasi Peak Adapter | 85650A | HP | NCR | NCR | 7 | 2430A00454 | Labelled | NIST Traceable | Collins | H | Y / Y
BiLog Antenna | 3142-C | ETS | 2018-10-19 | 2020-10-19 | 8 | 00060438 | Labelled | A2LA | Collins | Y
Pre-Amplifier | PA-2.5-26 | Vican | ZZZ | ZZZ | 9 | VE 060803011 | Labelled | Scrap | Collins | E
Transient limiter | TLF 01 | Vican | NCR | NCR | 10 | VETLF050202 | Labelled | Scrap | Collins | E
CDN | CDN-M3 | Vican | NCR | NCR | 11 | VEM300020407 | Labelled |  | Collins | E | Y / E
LISN | LISN 275-25-1 | Vican | NCR | NCR | 12 | VE 06080303 | Labelled |  | Collins | E
Field monitor | FM7004 | AR | NCR | NCR | 13 | 0321859 | Labelled | NIST Traceable | Collins | H | Y / H
Power Amplifier | 75A250A | AR | NCR | NCR | 14 | 0322367 | Labelled | NCR | Collins | H | Y / H
Power Head | PH 2000 | AR | 2019-02-26 | 2021-02-26 | 15 | 322471 | Labelled | A2LA | Collins | H | Y / E
Power meter | PM 2002 | AR | 2019-02-26 | 2021-02-26 | 16 | 321946 | Labelled | A2LA | Collins | H | Y / E
Laser Probe Interface | FI7000 | AR | NCR | NCR | 17 | 313096 | Labelled | NCR | Collins | H
Dual directional coupler | DC 6180A | AR | NCR | NCR | 18 | 0322735 | Labelled | NCR | Collins | H
RF Current probe | F-33-2 | FCC | 2019-02-14 | 2021-02-14 | 19 | 466 | Labelled | A2LA | Collins | H | Y / H
Bulk Current Injection Probe | F-120-9A | FCC | 2019-02-20 | 2021-02-20 | 20 | 480 | Labelled | A2LA | Collins | H | Y / H
Calibration Fixture | FCC-BCICF-4 | FCC | NCR | NCR | 21 | 447 | Labelled | NIST Traceable | Collins | H
Magnetic Loop | F-1000-4-8/9/10-L-1M | FCC | NCR | NCR | 22 | 6014 |  |  | Collins | H | Y / H
Power Amplifier | 150W1000 | AR | NCR | NCR | 23 | 322764 | Labelled |  | Collins | H
Power Amplifier | 10S1G4A | AR | NCR | NCR | 24 | 323138 | Labelled |  | Collins | H
Field probe | FL 7006 | AR | 2017-05-02 | 2019-05-02 | 25 | 0322560 | Labelled | A2LA | Collins | H | Y / Y
Horn Antenna 1 - 4.2 GHz | AT 4510 | AR | NCR | NCR | 26 | 0323414 | Labelled |  | Collins | H
RF Cable 10m (New Chamber) | LMR-400-10M-50OHM-MN-MN | LexTec | NCR | NCR | 27 | GEMC 27 | Labelled | NCR | Collins | X
RF Cable 7m | LMR-400-7M-50OHM-MN-MN | LexTec | NCR | NCR | 28 | GEMC 28 | Labelled | NCR | Collins | X
RF Cable 1m | LMR-400-1M-50OHM-MN-MN | LexTec | NCR | NCR | 29 | GEMC 29 | Labelled | NCR | Collins | X
RF Cable 1m | LMR-400-1M-50OHM-MN-MN | LexTec | NCR | NCR | 30 | GEMC 30 | Labelled | NCR | Collins | X
RF Cable 0.5M | LMR-400-0.5M-50OHM-MN-MN | LexTec | NCR | NCR | 31 | GEMC 31 | Labelled | NCR | Collins | X | N/A
RF Cable 0.5M | LMR-400-0.5M-50OHM-MN-MN | LexTec | NCR | NCR | 32 | GEMC 32 | Labelled | NCR | Collins | X | N/A
RF Cable 0.5M | LMR-400-0.5M-50OHM-MN-MN | LexTec | NCR | NCR | 33 | GEMC 33 | Labelled | NCR | Collins | X | N/A
RF Cable 0.5M | LMR-400-0.5M-50OHM-MN-MN | LexTec | NCR | NCR | 34 | GEMC 34 | Labelled | NCR | Collins | X | N/A
California Instruments CTS | Desktop | NA | NCR | NCR | 37 | NA | Labelled | NCR | Collins | X | NA
Attenuator 1 dB | FP-50-1 | Trilithic | NCR | NCR | 38 | NA |  | NCR | Collins | X | E/H
Attenuator 2 dB | FP-50-2 | Trilithic | NCR | NCR | 39 | NA |  | NCR | Collins | X | E/H
Attenuator 3 dB | FP-50-3 | Trilithic | NCR | NCR | 40 | NA |  | NCR | Collins | X | N/A
Attenuator 6 dB | FP-50-6 | Trilithic | NCR | NCR | 41 | NA |  | NCR | Collins | X
Attenuator 10 dB | FP-50-10 | Trilithic | NCR | NCR | 42 | NA |  | NCR | Collins | X
Attenuator 20 dB | FP-50-20 | Trilithic | NCR | NCR | 43 | NA |  | NCR | Collins | X
Flicker Meter | PACS-1 | California Instruments | 2019-02-12 | 2021-02-12 | 46 | 72503 | Labelled | A2LA | Collins | H | Y/Y
AC Power Source (FW Ver. 5.43) | 5000 iX | California Instruments | 2019-02-12 | 2021-02-12 | 47 | 57584 | Labelled | A2LA | Collins | H | Y/Y
Power Attenuator 6 dB | 100-A-FFN-06 | Bird / Hutton | NCR | NCR | 48 | 105548 | Labelled |  | Collins | X
Power Attenuator 20 dB | 25-A-FFN-20 | Bird / Hutton | NCR | NCR | 49 | 105549 | Labelled | NCR | Collins | X
ESD HCP | 80CMX160CM | Global EMC | NCR | NCR | 50 | GEMC 50 |  | NCR | Collins | X
ESD VCP | 50CMX50CM1 | Global EMC | NCR | NCR | 51 | GEMC 51 |  | NCR | Collins | X
ESD 470K A | 2X470KOHM100CM | Global EMC | NCR | NCR | 52 | GEMC 52 |  | NCR | Collins | X
ESD 470K B | 2X470KOHM100CM | Global EMC | NCR | NCR | 53 | GEMC 53 |  | NCR | Collins | X
100 W Load | DB4303G | Decibel | NCR | NCR | 54 | GEMC 54 | Labelled | NCR | Collins | X
100 W Load | DB4303G | Decibel | NCR | NCR | 55 | GEMC 55 | Labelled | NCR | Collins | X
NI GPIB USB Cable | GPIB USB B | NI | NCR | NCR | 56 | D2507B | Labelled | NCR | Collins | X
Immunity software | Version 2.24 | Global EMC | NCR | NCR | 57 | GEMC 57 | N/A | NCR | Collins | N/A
Emission software | 0.1.98 | Global EMC | NCR | NCR | 58 | GEMC 58 | N/A | NCR | Collins | N/A
Screen Capture software | Version 1.3.1 | John Miles, KE5FX | NCR | NCR | 59 | - | N/A | NCR | Collins | N/A
IPS Power supply | 1251PC | Intertek power | NCR | NCR | 60 | L40674 | Labelled | NCR | Collins | H
IPS Power supply | 1251PC | Intertek power | NCR | NCR | 61 | L40672 | Labelled | NCR | Collins | H
TLISN | T8-02 | FCC | NCR | NCR | 62 | 20363 | Labelled | A2LA | Collins | H
TLISN Ethernet adapter | T8-ALCL-1 | FCC | NCR | NCR | 63 | 20363.01 | Labelled | NCR | Collins | N/A
Absorbing clamp | MDS 21 | RS | NCR | NCR | 64 | 74428 | Labelled | A2LA | Collins | N/A
LISN | FCC-LISN-50/250-16-2-01 | FCC | Limited | Limited | 65 | 7003 | Labelled | A2LA | Collins | H
2.4 GHz LPF | 4L250-1800/T6000-0/0 | K&L | NCR | NCR | 66 | 1 | Labelled | NCR | Collins | N/A
Stripline | NA | Global EMC | NCR | NCR | 67 | - | Labelled | NCR | Collins
T Pair Coupling network | VE-CDN-T-2P | Vican | NCR | NCR | 68 | VE 24060701 | Labelled | Vican | Collins
Low frequency signal generator | 182A | Wavetek | NCR | NCR | 69 | M6650617 | Labelled | Wavetek | Collins
Loop Antenna 30Hz - 1MHz | EM 6871 | Electro-Metrics | 2019-02-15 | 2021-02-15 | 70 | 620179 | Labelled | A2LA | Collins |  | Y / E
Loop Antenna 100kHz - 30MHz | EM 6872 | Electro-Metrics | 2019-02-15 | 2021-02-15 | 71 | 152 | Labelled | A2LA | Collins |  | Y / E
Rod Antenna | EM 6892 | Electro-Metrics | 2018-01-23 | 2020-01-23 | 72 | 302 | Labelled | Electro-Metrics | Collins |  | X
Semi Anechoic Chamber | SAC-1 | TDK RF solutions | 2018-06-01 | 2021-06-01 | 73 | 111050 | Labelled | in house | Collins |  | Y / E
milligauss meter | 4180 | F W Bell | 2018-10-10 | 2020-10-10 | 74 | 740021 | Labelled | A2LA | Collins
Magnetic Loop Sensor | GEMC 115 | Global | NCR | NCR | 115 | GEMC 115 | Labelled | NCR | Collins
Schaffner Preamp 9kHz - 2 GHz | CPA9231A | Schaffner | NCR | NCR | 116 | 3478 | Labelled | A2LA | Collins |  | Y / E
Oscilloscope | TDS 784A | Tektronix | NCR | NCR | 117 |  |  |  | Collins
1.2 GHz High pass filter | 5IH30-1078 | K & L Microwave | NCR | NCR | 118 | N/A | N/A | NCR | Collins
4GHZ-12GHz High Pass filter | 11SH10-4000/T12000-0/0 | K & L Microwave | NCR | NCR | 119 | 2 | N/A | NCR | Collins
150 kHz high pass filter | EZ-25 | Rhode and Schwarz | NCR | NCR | 120 |  | N/A | NCR | Collins
100A LISN | FCC-LISN-50-100-1-02-MS461F | Fischer Custom Communications | 2018-02-20 | 2020-02-20 | 121 | 9597 | Labelled | A2LA | Collins
100A LISN | FCC-LISN-50-100-1-02-MS461F | Fischer Custom Communications | 2018-02-16 | 2020-02-20 | 122 | 9650 | Labelled | A2LA | Collins
100A LISN | FCC-LISN-50-100-1-02-MS461F | Fischer Custom Communications | 2018-02-20 | 2020-02-20 | 123 | 9649 | Labelled | A2LA | Collins
100A LISN | FCC-LISN-50-100-1-02-MS461F | Fischer Custom Communications | 2018-02-21 | 2020-02-21 | 124 | 9651 | Labelled | A2LA | Collins
10 Hz to 2 MHz current probe | F-10 | Fischer Custom Communications | 2019-02-04 | 2021-02-04 | 125 | 9631 | Labelled | A2LA | Collins
TLISN | FCC-TLISN-T8-02-09 | Fischer Custom Communications | 2018-10-09 | 2020-10-09 | 126 | 91159 | Labelled | A2LA | Collins |  | Y/H
4 GHz -8 GHz 10 W TWT Amp | 1177H02F000 | Hughes | NCR | NCR | 127 | 300 | Labelled | in house | Collins |  | Y / E
8 GHz - 12 GHz 10 W TWT Amp | 8010H03F000/J | Hughes | NCR | NCR | 128 | 199 | Labelled | in house | Collins |  | X
Ailtech Biconical Antenna | 94455-1 | Ailtech / Eaton | NCR | NCR | 129 | 101 | Labelled | in house | Collins |  | Y / E
ESD Generator | NSG 437 | Teseq | 2018-12-20 | 2020-12-20 | 130 | 309 | Labelled | A2LA | Collins
3 Phase PQF Coupler/Decoupler | CM-3PQF | Thermo KeyTek | NCR | NCR | 131 | 702285 | Labelled | NCR | Collins
3 Phase Surge & EFT Coupler/Decoupler | CM-3CD | Thermo Keytek | NCR | NCR | 132 | 608212 | Labelled | NCR | Collins
Attenuator 10 dB | 8493B | Agilent | NCR | NCR | 133 | MY39260926 | N/A | NCR | Collins
Transformer | Y150PKC | Hammond | NCR | NCR | 134 | 331883 | Labelled | NCR | Collins
Forklift Battery Charger | SMC16C-12134BA-00 | Saft | NCR | NCR | 135 | SMC16C 0412 0134 | Labelled | NCR | Collins
80 Turn Magnetic Loop | 1mx1m | Global EMC | NCR | NCR | 136 | - | N/A | NCR | Collins
Bilog Antenna | 3142C | ETS | 2019-03-01 | 2021-03-01 | 137 | 52086 | Labelled | A2LA | Collins | H | Y/H
Power Line CDN | FCC-801-M3-16A | Fischer Custom Communications | 2018-02-23 | 2020-02-23 | 138 | 110169 | Labelled | FCC (A2LA) | Collins | H | Y/H
Compact Digital Barometer | 36934-162 | Control Company | NCR | NCR | 139 | 102039765 | Labelled | A2LA | Collins | H | Y/H
Immunity generator | CE Master | Keytek Thermo Corp | DNU | DNU | 140 | 11284 | Labelled | A2LA | Collins |  | Y / H
Spectrum Analyzer | 8566B | HP | NCR | NCR | 141 | 2648A14435 | Labelled | A2LA | Collins | E | Y/H
DC Gaussmeter | VGM | AlphaLab Inc | 2018-10-10 | 2020-10-10 | 142 | 304 | Labelled | NIST Traceable | Collins | E | Y/H
Multimeter | 75III | Fluke | NCR | NCR | 143 | 77900124 | Labelled | NCR | Collins | N/A
Multimeter | 75III | Fluke | NCR | NCR | 144 | 70290456 | Labelled | NCR | Collins | N/A
Multimeter | 75III | Fluke | NCR | NCR | 145 | 69301261 | Labelled | NCR | Collins | N/A
Multimeter | 75 Series II | Fluke | NCR | NCR | 146 | 64320490 | Labelled | NCR | Collins | N/A
Multimeter | 76 True RMS | Fluke | NCR | NCR | 147 | 63991271 | Labelled | NCR | Collins | N/A
Multimeter | 76 True RMS | Fluke | NCR | NCR | 148 | 63991270 | Labelled | NCR | Collins | N/A
Multimeter | 79III True RMS | Fluke | NCR | NCR | 149 | 63991270 | Labelled | NCR | Collins | N/A
DC Power Supply | 1740 | BK Precision | NCR | NCR | 150 | 265-00427 | Labelled | NCR | Collins | N/A
DC Power Supply | 1740 | BK Precision | NCR | NCR | 151 | 265-00603 | Labelled | NCR | Collins | N/A
DC Power Supply | 1740 | BK Precision | NCR | NCR | 152 | 265-0200 | Labelled | NCR | Collins | N/A
Environmental Chamber | SM-32-7800 | Thermotron | NCR | NCR | 153 | 31502 | Labelled | NCR | Collins | H
Data Acquisition/Switch | 34970A | HP | NCR | NCR | 154 | 4126 | Labelled | NCR | Collins | N/A
Signal Generator | SMHU 0835.8011.58 | Rhode & Schwarz | 2019-03-06 | 2021-03-06 | 155 | 840574/010 | Labelled | A2LA | Collins | H | Y / H
Signal Generator | 1720-S6002 | Systron Donner | Reference | Reference | 156 | 40017-8 | Labelled | NCR | Montreal | X
2.0-8.0 GHz Amplifier | 11975A | HP | NCR | NCR | 157 | 2517A00902 | Labelled | A2LA | Collins | E | Y/H
18.0-26.5 GHz Harmonic Mixer | 11970K | HP | NCR | NCR | 158 | 3003A03153 | Labelled | A2LA | Collins | X
AC Electric Field Meter | AEFM | AlphaLab Inc | NCR | NCR | 159 |  | Labelled | NCR | Collins | N/A
Spectrum Analyzer | ESL6 | Rohde & Schwarz | 2019-02-25 | 2021-02-25 | 160 | 100135 | Labelled | Rhode & Schwarz (ISO 17025) | Collins | E | Y/H
Detector, Low Power | 918D-SL-OD3 | Newport | NCR | NCR | 161 | 10235 | Labelled | Newport | Collins | H | Y
Detector, 918D-IR OD3 | 918D-SL-OD3 | Newport | NCR | NCR | 162 | 10067 | Labelled | Newport | Collins | H | Y
Optical Power Meter | 1936-C | Newport | NCR | NCR | 163 | 1165A | Labelled | Newport | Collins | H | Y
Field Probe | FL7018 | AR | 2018-10-10 | 2020-10-10 | 164 | 327787 | Labelled | in house | Collins | X | X
26GHz to 40 GHz Harmonic Mixer | 11970A | HP | NCR | NCR | 165 | 5086-7939 | Labelled | Liberty - A2LA | Collins |  | Y/Y
Immunity generator | EMC Pro Plus | Thermo Fisher Scientific | N/A | N/A | 4166 | 1211192 | Labelled | Thermo KeyTek (NIST traceable) | Montreal | E | Y/H
9kHz-1GHz, 28dB preamp and power supply | LNA 6901 | Teseq | DNU | DNU | 167 | 73208 | Labelled | DNU | Collins | X | N
9kHz-1GHz, 28dB preamp and power supply | LNA 6901 | Teseq | 2019-02-25 | 2021-02-25 | 168 | 73209 | Labelled | DNU | Collins | X | N
Spectrum Analyzer | 8566B | HP | NCR | NCR | 169 | 2152A03451; 3638A08594 | Labelled | A2LA | Montreal | E | Y / Y
Quasi Peak Adapter | 85650A | HP | NCR | NCR | 170 | 3303A01853 | Labelled | A2LA | Montreal | E | Y / Y
Surge Generator | ECAT (E103, E501B, E551) | Thermo Fisher Scientific | Reference | Reference | 171 | 1212181, 1212195, 1212196 | Labelled | Thermo KeyTek (ISO 17025) | Returned to Thermo | E | Y / Y
HALT Chamber | AST-70 | Thermotron | Reference | Reference | 172 | 30447 | Labelled | DYTRAN (A2LA) | Collins | H | Y/Y
Power Line CDN | FCC-801-M3-16A | Fisher Custom Communications | Reference | Reference | 173 | 130292 | Labelled | FCC (A2LA) | Montreal | H | Y / Y
Elgar Power Supply | 66-3-BV4 | Elgar | NCR | NCR | 174 | 115 | Labelled | NCR | Collins | X | N / N
CCTV switch & control | SI-300 | TDK RF solutions | NCR | NCR | 175 | 160011 |  | NCR | Collins |  | N / N
CCTV switch & control | SI-300 | TDK RF solutions | NCR | NCR | 176 | 170129 |  | NCR | Collins |  | N / N
Pneumatic Controller | SC104 | Sunol Sciences Corp. | NCR | NCR | 177 | 102506-1 |  | NCR | Collins |  | N / N
Pneumatic Controller | SC104 | Sunol Sciences Corp. | NCR | NCR | 178 | 011212-1 |  | NCR | Collins |  | N / N
Power Amplifier | 150W1000 | AR | NCR | NCR | 179 | 0342037 |  | NCR | Collins | E/H
Dual directional coupler | DC 6180A | AR | NCR | NCR | 180 | 342169 | Labelled | NCR | Collins | H
High freq. dual directional coupler | DC7420 | AR | NCR | NCR | 181 | 342359 | Labelled | NCR | Montreal | H
EMCPro Plus Software | CEWARE32 V4.1 | Thermo Fisher Scientific | NCR | NCR | 182 | 182 | N/A | NCR | Collins
California Instruments CTS SW1 | CIGuiSII V3.2.0 | Ametek Programmable Power Division | NCR | NCR | 183 | 183 | N/A | NCR | Collins
California Instruments CTS SW2 | CTS 4.0 V4.18 | Ametek Programmable Power Division | NCR | NCR | 184 | 184 | N/A | NCR | Collins
Power Amplifier | 20S1G4 | AR | NCR | NCR | 185 | 342600 | Labelled | NCR | Collins | E/H | N/N
Band Reject Filter | BRC50722 | Micro-Tronics | NCR | NCR | 186 | 5 | Labelled | NCR | Collins | H | N/N
DC Power Supply | DCR150-3B | Sorensen Power Supplies | NCR | NCR | 187 | 722 | N/A | NCR | Collins
Immunity generator | EMC Pro Plus | Keytek Thermo Corp | 2019-02-06 | 2021-02-06 | 188 | 1306262 | Labelled | A2LA | Collins | E | Y/Y
HP Preamp | HP-8449B | HP | 2017-11-15 | 2019-11-15 | 189 | 3008A02380 | Labelled | Micro Precision Calibration Inc. (A2LA) | Collins | E | Y/Y
Spectrum Analyzer | 8566B | HP | 2017-12-13 | 2019-12-13 | 190 | 2542A10911; 2140A01225 | Labelled | A2LA | Collins | E | Y / Y
Quasi Peak Adapter | 85650A | HP | 2017-12-13 | 2019-12-13 | 191 | 2521A00653 | Labelled | A2LA | Collins | E | Y / Y
Power Amplifier | 250W1000B | AR | NCR | NCR | 192 | 456833 | Labelled | NCR | Collins | H | N / N
Spectrum Analyzer | 8566B | HP | NCR | NCR | 193 | 3004A18621; 2950A06345 | Labelled | A2LA | Collins | E | Y / H
Quasi Peak Adapter | 85650A | HP | NCR | NCR | 194 | 2521A00720 | Labelled | A2LA | Collins | E | Y / H
Coupling Clamp | CDN 126 | Schaffner | 2019-01-08 | 2021-01-08 | 195 | 154 | Labelled | A2LA | Collins |  | Y / E
Bulk Current Injection Probe | 95236-1 | Eaton/ETS | DNU | DNU | 196 | 144 | Labelled | NCR | Collins | E
DC Milligauss Meter | MGM | AlphaLab Inc | 2018-10-10 | 2020-10-10 | 197 | 738 | Labelled | NIST Traceable | Collins
Spectrum Analyzer | FSU3 | Rohde & Schwarz | 2017-02-07 | 2019-02-07 | 198 | 200278 | Labelled | A2LA | Collins | E | Y / H
Power Splitter | ZAPD-4-S+ | Mini-Circuits | NCR | NCR | 199 | N/A | Labelled | NCR | Collins | E | X
Power Splitter | ZAPD-4-S+ | Mini-Circuits | NCR | NCR | 200 | N/A | Labelled | NCR | Collins | E | X
Bilog Antenna | CBL6111 | Chase | 2018-03-12 | 2020-03-12 | 201 | 1096 | Labelled | A2LA | Collins | E | Y/Y
Power Attenuator 6 dB | 100-A-FFN-06 | Bird / Hutton | NCR | NCR | 202 | N/A | Labelled | NCR | Collins | X
LISN | LSN0930A | Farnell Instruments Ltd. | Reference | Reference | 203 | 141 | Labelled | NCR | Collins | X
1-6GHz Bicon Antenna | SBA 9119 | Schwarzbeck Mess-Elektronik | 2017-12-13 | 2019-12-13 | 204 | 9119-071 | Labelled | A2LA | Collins | H | Y/Y
2m Grey Extension cord | N/A | GEMC | NCR | NCR | 205 | N/A | Labelled | NCR | Collins |  | N/N
Artificial hand | N/A | GEMC | NCR | NCR | 206 | N/A | Labelled | NCR | Collins | N/A | N/N
Artificial hand | N/A | GEMC | NCR | NCR | 207 | N/A | Labelled | NCR | Collins | N/A | N/N
RF Cable 10m | LMR-400-10M-50OHM-MN-MN | LexTec | NCR | NCR | 208 | GEMC 208 | Labelled | NCR | Collins | X
RF Cable 10m | LMR-400-10M-50OHM-MN-MN | LexTec | NCR | NCR | 209 | GEMC 209 | Labelled | NCR | Collins | X
RF Cable 10m | LMR-400-10M-50OHM-MN-MN | LexTec | NCR | NCR | 210 | GEMC 210 | Labelled | NCR | Collins | X
Modular Impulse Generator | MIG OS OS1 | EMC-Partner | 2019-01-11 | 2021-01-11 | 211 | MIG-OS-OS1-1516 | Labelled | A2LA | Collins
Coupling Network | CDN2000-06-25 | EMC-Partner | 2019-01-11 | 2021-01-11 | 212 | CDN2000-06-25 480V-1505 | Labelled | A2LA | Collins
Voltage Probe | 9533-1 | Solar Electronics Co. | 2018-01-04 | 2020-01-04 | 213 | 36101 | Labelled | A2LA | Collins | N/A
Double Ridge Guide Horn Antenna 1-18 GHz | AH-118 | Com-Power Corporation | 2017-07-12 | 2019-07-12 | 214 | 71339 | Labelled | A2LA | Collins | H | Y / E
Balance Unbalance Tranformer (BALUN) | CN-BALUN | EMC-Partner | 2019-01-11 | 2021-01-11 | 215 | CN-BALUN-1509 | Labelled | A2LA | Collins | H | Y / E
Surface DC Voltmeter | SVM2 | AlphaLab Inc | Reference | Reference | 216 | 1306 | Labelled | NCR | Collins | N/A | N/N
Oscilloscope | DPO7104 | Tektronix | Reference | Reference | 217 | B033272 | Labelled | A2LA | Collins
Laser Probe Interface | FI7000M1 | AR | NCR | NCR | 218 | 343936 | Labelled | NCR | Collins | H
Signal Generator | 83623A | Hewlett Packard | Reference | Reference | 219 | 3104A00304 | Labelled | A2LA | Collins | E | Y/E
50-150 Ohm Adapter | N/A | GEMC | NCR | NCR | 220 | GEMC 220 | Labelled | NCR | Collins
Low Noise Pre-Amp | LNA-1450 | RF Bay | 2018-10-18 | 2020-10-18 | 221 | 12160331 | Labelled | A2LA | Collins | X | Y/E
3 dB attenuator | 612-03-1 | Meca Electronics, Inc. | NCR | NCR | 222 | N/A | Labelled | NCR | Collins | X | N
10 dB attenuator | 612-10-1 | Meca Electronics, Inc. | NCR | NCR | 223 | N/A | Labelled | NCR | Collins | X | N
10 dB attenuator | 612-10-1 | Meca Electronics, Inc. | NCR | NCR | 224 | N/A | Labelled | NCR | Collins | X | N
10 dB attenuator | 605-10-1F18 | Meca Electronics, Inc. | NCR | NCR | 225 | N/A | Labelled | NCR | Collins | X | N
10 dB attenuator | 605-10-1F18 | Meca Electronics, Inc. | NCR | NCR | 226 | N/A | Labelled | NCR | Collins | X | N
Semi Anechoic Chamber | SAC-1 | TDK RF solutions | 2018-06-01 | 2021-06-01 | 227 |  | Labelled | in house | Collins |  | Y / E
Verification Antenna | ANT-916-CW-HWR-SMA | Linx | NCR | NCR | 228 | N/A | Labelled | NCR | Collins | X | X
Programmable AC Power Supply | 6460 | Chroma | NCR | NCR | 229 | 646022000179 | Labelled | NCR | Collins | E | N/N
2.4Ghz-2.5GHz Notch Filter | BRM50702 | Micro-Tronics | NCR | NCR | 230 | G256 | Labelled | NCR | Collins | E
30MHz - 3GHz BiLog Antenna | HLP-3003C | TDK RF solutions | 2018-10-19 | 2020-10-19 | 231 | 017401 | Labelled | A2LA | Collins | E
26.5GHz Spectrum Analyzer | FSU26 | Rohde & Schwarz | 2019-02-28 | 2021-02-28 | 232 | 200464 | Labelled | Rohde & Schwarz | Collins | E
40GHz Spectrum Analyzer | ESU40 | Rohde & Schwarz | 2018-01-12 | 2020-01-12 | 233 | 100215 | Labelled | Rohde & Schwarz | Collins | E
26.5GHz Signal Analyzer | FSQ26 | Rohde & Schwarz | 2019-03-01 | 2021-03-01 | 234 | 201096 | Labelled | Rohde & Schwarz | Collins | E
1GHz-18GHz Horn Antenna | HRN-0118 | TDK RF solutions | 2018-02-13 | 2020-02-13 | 235 | 030101 | Labelled | NCR | Collins
100kHz - 6GHz Signal Generator | SMU200A | Rohde & Schwarz | 2017-12-22 | 2019-12-22 | 236 | 104872 | Labelled | Rohde & Schwarz | Collins | E
100kHz - 3GHz Dual Chan. Sig Gen | SMU200A | Rohde & Schwarz | NCR | NCR | 237 | 102070 | Labelled |  | Collins
300kHz - 3.3GHz Signal Generator | SMIQ 03B | Rohde & Schwarz | NCR | NCR | 238 | 101413 | Labelled | Rohde & Schwarz | Collins | E
Wideband Radio Comm. Tester | CMW 500 | Rohde & Schwarz | Reference | Reference | 239 | 109949 | Labelled | Rohde & Schwarz | Collins | E
Spiral Antenna | 3102 | ETS Lindgren | NCR | NCR | 240 | 00066943 | Labelled | NCR | Collins
40 Ohm Resistor box for Surge unshielded unsymmetrical interconnection lines | N/A | Global EMC Labs | NCR | NCR | 241 | N/A | Labelled | NCR | Collins | N/A | N/A
40 Ohm Resistor box for Surge unshielded symmetrical (4 pair) interconnection lines | N/A | Global EMC Labs | NCR | NCR | 242 | N/A | Labelled | NCR | Collins | N/A | N/A
300 kHz-6.5 GHz preamp | LPA-6-30 | RF Bay Inc. | 2019-02-28 | 2021-02-28 | 243 | 11165001 | Labelled |  | Collins | X | N/N
100 kHz-10 GHz preamp | LPA-10-20 | RF Bay Inc. | 2019-02-28 | 2021-02-28 | 244 | 11163162 | Labelled |  | Collins | X | N/N
Reference Adapter Telecom | CDN ADA - T4/T8E | Com-Power Corporation | NCR | NCR | 245 |  | Labelled |  | Collins
Reference Adapter Telecom | CDN ADA - T4/T8E | Com-Power Corporation | NCR | NCR | 246 |  | Labelled |  | Collins
Telecom CDN 150kHz - 230MHz | CDN T8E | Com-Power Corporation | 2019-02-20 | 2021-02-20 | 247 | 581404 | Labelled | A2LA | Collins | E
TLISN Cat 5 8wire Adapter | ISN-LCL-CAT5-T8-RJ45 | Com-Power Corporation | ZZZ | ZZZ | 248 | 600119 | Labelled |  | Collins | E
TLISN Cat 3 Adapter | ISN-LCL-CAT3-T8-RJ45 | Com-Power Corporation | ZZZ | ZZZ | 249 | 600119 | Labelled |  | Collins | E
TLISN T8 Connecting Adapter | ISN-ADA-T8-RJ45 | Com-Power Corporation | ZZZ | ZZZ | 250 | 600119 | Labelled |  | Collins | E
TLISN 150kHz - 30MHz | ISN T8 | Com-Power Corporation | ZZZ | ZZZ | 251 | 600119 | Labelled | A2LA | Collins | E
18-40GHz, 42dB preamp and power supply | PAM-840A | Com-Power Corporation | 2019-03-20 | 2020-03-20 | 252 | 461313 | Labelled | A2LA | Collins | E
150 Ohm to 50 Ohm Adapter | ADA-515-2 | Com-Power Corporation | NCR | NCR | 253 | 321283 | Labelled |  | Collins | N/A
150 Ohm to 50 Ohm Adapter | ADA-515-2 | Com-Power Corporation | NCR | NCR | 254 | 321284 | Labelled |  | Collins | N/A
RE101 Loop Sensor | 7334-1 (AT-205/URM-6) | Solar Electronics Co. | 2017-04-26 | 2019-04-26 | 255 | 218280-1 | Labelled |  | Collins
Biconical Antenna Rx | PBA 2030 | TDK RF Solutions | 2017-04-27 | 2019-04-27 | 256 | 016001 | Labelled | NCR | Collins
Biconical Antenna | PBA 2030 | TDK RF Solutions | 2017-05-05 | 2019-05-05 | 257 | 015901 | Labelled | NCR | Collins
Log Periodic Antenna Rx | PLP 3003 | TDK RF Solutions | 2017-04-27 | 2019-04-27 | 258 | 061501 | Labelled | NCR | Collins
Log Periodic Antenna | PLP 3003 | TDK RF Solutions | 2017-05-01 | 2019-05-01 | 259 | 018301 | Labelled | NCR | Collins
Clamp Meter | 365 | Fluke | 2018-11-19 | 2019-11-19 | 260 | 36230058WS | Labelled | A2LA | Collins | E | Y / E
RF Step Attenuator 139dB | DPSP | Rohde & Schwarz | NCR | NCR | 261 | 100084 | Labelled | NCR | Collins
RF Step Attenuator 139dB | DPSP | Rohde & Schwarz | NCR | NCR | 262 | 100085 | Labelled | NCR | Collins
Power Amplifier | 50S1G6 | AR | NCR | NCR | 263 | 348406 | Labelled | NCR | Collins | H | N/N
Digital Phosphor Oscilloscope | DPO 4102B-L | Tektronix | 2019-03-20 | 2020-03-20 | 264 | C024628 | Labelled | A2LA | Collins
Voltage Probe - Oscilloscope | Tek P5100 | Tektronix | 2019-03-20 | 2020-03-20 | 265 | x | Labelled | A2LA | Collins
Power Amplifier | 75A250A | AR | NCR | NCR | 266 | 348572 | Labelled | NCR | Collins | H | Y / H
BRF (5.725GHz - 5.875GHz) | BRC50705 | Micro-Tronics | NCR | NCR | 267 | 4 | Labelled | NCR | Collins
BRF (5.150GHz - 5.370GHz) | BRC50703 | Micro-Tronics | NCR | NCR | 268 | 9 | Labelled | NCR | Collins
BRF (5.470GHz - 5.725GHz) | BRC50704 | Micro-Tronics | NCR | NCR | 269 | 7 | Labelled | NCR | Collins
2 m diameter Van Leen Loop | RF300 | Laplace Instruments Ltd | NCR | NCR | 270 | 9172 | Labelled | NCR | Collins | H | Y/H
RF Cable 2m (Old Chamber <1GHz) | Sucoflex 104A | Huber+Suhner | NCR | NCR | 271 | 46825 /4A | Labelled | NCR | Collins
RF Cable 2m (Old Chamber >1GHz) | Sucoflex 104A | Huber+Suhner | NCR | NCR | 272 | 500871 /4A | Labelled | NCR | Collins
RF Cable 3m | LMR-400-3M-50OHM-MN-MN | LexTec | NCR | NCR | 273 | GEMC 273 | Labelled | NCR | Collins
RF Cable 10m (Old Chamber) | LMR-400-10M-50OHM-MN-MN | LexTec | NCR | NCR | 274 | GEMC 274 | Labelled | NCR | Collins
RF Cable 10m (Old Chamber) | LMR-400-10M-50OHM-MN-MN | LexTec | NCR | NCR | 275 | GEMC 275 | Labelled | NCR | Collins
RF Cable 3m (PLCE/TLCE) | LMR-400-3M-50OHM-MN-MN | LexTec | NCR | NCR | 276 | GEMC 276 | Labelled | NCR | Collins
EMC Analyzer 100Hz to 26.5GHz | E7405A | Agilent Technologies Inc. | 2017-04-07 | 2019-04-07 | 277 | US40240226 | Labelled | A2LA | Collins
6 dB attenuator (SMA) | 3M-6 | Weinschel | NCR | NCR | 278 | U0258 | Labelled | NCR | Collins
10 dB attenuator (SMA) | 3M-10 | Weinschel | NCR | NCR | 279 | T9719 | Labelled | NCR | Collins
20 dB attenuator (SMA) | 3M-20 | Weinschel | NCR | NCR | 280 | R1922 | Labelled | NCR | Collins
100kHz - 22 GHz Signal Generator | SMF100A | Rohde & Schwarz | 2018-05-17 | 2020-05-17 | 281 | 102478 | Labelled | Rohde & Schwarz | Collins | E | Sent for Upgrade
Temp & Humidity Monitor | iTHX-SD | Omega | 2017-04-27 | 2019-04-27 | 282 | 380567 | Labelled | A2LA | Collins | E
Audio Amplifier | 7224 | AE Techron Inc. | NCR | NCR | 283 | 7224-0117-1731 | Labelled | NCR | Collins | E
3 dB attenuator | 612-03-1 | Meca Electronics, Inc. | NCR | NCR | 284 | N/A | Labelled | NCR | Collins | X | N
3 dB attenuator | 612-03-1 | Meca Electronics, Inc. | NCR | NCR | 285 | N/A | Labelled | NCR | Collins | X | N
6 dB attenuator | 612-06-1 | Meca Electronics, Inc. | NCR | NCR | 286 | N/A | Labelled | NCR | Collins | X | N
6 dB attenuator | 612-06-1 | Meca Electronics, Inc. | NCR | NCR | 287 | N/A | Labelled | NCR | Collins | X | N
6 dB attenuator | 612-06-1 | Meca Electronics, Inc. | NCR | NCR | 288 | N/A | Labelled | NCR | Collins | X | N
6 dB attenuator | 8491A | Keysight Technologies | NCR | NCR | 289 | 23353 | Labelled | NCR | Collins | X | N
6 dB attenuator | 50-6 | Weinschel Engineering | NCR | NCR | 290 | B4930 | Labelled | NCR | Collins | X | N
High freq. dual directional coupler | RFDDC5M18G30 | RF-Lambda | NCR | NCR | 291 | 17052200002 | Labelled | NCR | Collins | E
4-16 CM Coupling Network | CN16 | Global EMC | NCR | NCR | 292 | GEMC 292 | Labelled | NCR | Collins | X
Artificial - Mains Network (9kHz-30MHz) | ESH 2 - Z5 | Rohde & Schwarz | Limited | Limited | 293 | 848765/002 | Labelled | Liberty - A2LA | Collins | E | Y
Bulk Current Injection Probe | F-120-9A | FCC | 2017-07-05 | 2019-07-05 | 294 | 180468 | Labelled | A2LA | Collins | H | Y / H
Open Area Test Site (Gormley) | 10m Test Site | GEMC | 2017-08-24 | 2019-08-24 | 295 | N/A | Labelled | SIS | Collins | E | Y
Arbitrary Function Generator | AFG-2125 | GwInstek | 2017-09-07 | 2019-09-07 | 296 | GEN867843 | Labelled | A2LA | Collins | H | Y
HP Preamp | HP-8449B | HP | ZZZ | ZZZ | 297 | 3008A00708 | Labelled | A2LA | Collins | E | Y/Y
Power Amplifier 200W | 5225FE | Ophir RF | NCR | NCR | 298 | 1058 | Labelled | NCR | Collins | E | N
ESD Simulator | ONYX 30 | Haefely | 2017-06-26 | 2019-06-26 | 299 | 174917 | Labelled | A2LA | Collins | H | Y/Y
Capacitive Voltage Probe | CVP 9222 B | Schwarzbeck | 2017-11-16 | 2019-11-16 | 300 | 1036 | Labelled | A2LA | Collins | H | Y/Y
Chase 9KHz - 1GHz 30db pre-amp | CPA9230 | Chase | 2018-02-28 | 2020-02-28 | 301 | 1048 | Labelled | A2LA | Collins | H | Y/Y
16A LISN | FCC-LISN-50/250-16-2-01 | FCC | 2018-01-10 | 2020-01-10 | 302 | 181086 | Labelled | A2LA | Collins | H
16A LISN | FCC-LISN-50/250-16-2-01 | FCC | 2019-02-27 | 2021-02-27 | 303 | 181087 | Labelled | A2LA | Collins | H
Electric Field Probe | EP 601 | Narda S.T.S | 2017-09-28 | 2019-09-28 | 304 | 611WX70712 | Labelled | ISO 9001 | Collins | H
TLISN Cat 5 8wire Adapter | ISN-LCL-CAT5-T8-RJ45 | Com-Power Corporation | 2018-03-02 | 2020-03-02 | 305 | 24010002 | Labelled |  | Collins | E
TLISN Cat 3 Adapter | ISN-LCL-CAT3-T8-RJ45 | Com-Power Corporation | 2018-03-02 | 2020-03-02 | 306 | 24010002 | Labelled |  | Collins | E
TLISN T8 Connecting Adapter | ISN-ADA-T8-RJ45 | Com-Power Corporation | 2018-03-02 | 2020-03-02 | 307 | 24010002 | Labelled |  | Collins | E
TLISN 150kHz - 30MHz | ISN T8 | Com-Power Corporation | 2018-03-02 | 2020-03-02 | 308 | 24010002 | Labelled | ANAB | Collins | E
Dual Directional Coupler - 0.01MHz - 1GHz | DC310 | Amplified Research AR | NCR | NCR | 309 | 11994 | Labelled |  | Collins | E
RF Cable 3m (New Chamber) | HP305S | Semflex Inc. | NCR | NCR | 310 | N129BFSN10119 | Labelled | NCR | Collins
BAT-EMC Emission | Version 3.17.0.25 | Nexio Inc. | NCR | NCR | 311 | N/A | Labelled | NCR | Collins
HP Preamp | HP-8449B | HP | 2018-06-12 | 2020-06-12 | 312 | 3008A00374 | Labelled | A2LA | Collins | E | Y/Y
5 Turn Magnetic Loop | 1mx1m | TUV SUD Canada | NCR | NCR | 313 | GEMC 313 | Labelled | NCR | Collins | X | N/A
Conducted Comb Generator | CGC-510E | Com-Power Corporation | NCR | NCR | 314 | 311817 | Labelled | NCR | Collins | X | N/A
Radiated Comb Generator 20 MHz Step | CGO-520 | Com-Power Corporation | NCR | NCR | 315 | 281275 | Labelled | NCR | Collins | X | N/A
Radiated Comb Generator 100 MHz Step | CGO-5100B | Com-Power Corporation | NCR | NCR | 316 | 26040056 | Labelled | NCR | Collins | X | N/A
Multifunction Immunity Generator | NSG 3060 | Teseq | 2018-08-20 | 2020-08-20 | 317 | 4134 | Labelled | ILAC | Collins | E | Y/Y
Multifunction Single Phase Coupler | CDN 3061-C16 | Teseq | 2018-08-20 | 2020-08-20 | 318 | 5066 | Labelled | ILAC | Collins | E | Y/Y
3Ph CDN Network | CDN 3083-S100 | Teseq | 2018-08-20 | 2020-08-20 | 319 | 5013 | Labelled | ILAC | Collins | E | Y/Y
Synchronization Module | INA 3084 | Teseq | 2018-08-20 | 2020-08-20 |  | 5015 | Labelled | ILAC | Collins | E | Y/Y
Surge Coupling Unit L1 & L2-L3 | INA 3080 | Teseq | 2018-08-20 | 2020-08-20 |  | 5014 | Labelled | ILAC | Collins | E | Y/Y
Teseq Immunity Software | WIN 3000 V1.5.1 | Teseq | NCR | NCR | 320 | 2033-0-0105-0000-0762-502A-9C0F-67FE | Labelled | NCR | Collins | X
EMC32 | V10.50.00 | Rohde & Schwarz | NCR | NCR | 321 | N/A | Labelled | NCR | Collins | E
10 dB attenuator | 10-A-MFN-10 | Bird / Hutton | NCR | NCR | 322 | 1450909 | Labelled | NCR | Collins | X
10 dB attenuator | 10-A-MFN-10 | Bird / Hutton | NCR | NCR | 323 | 1450910 | Labelled | NCR | Collins | X
100 Ohm Resistor | 888SP101K | Kanthal Corporation | NCR | NCR | 324 | N/A | Labelled | NCR | Collins
500 Ohm Resistor | 1032AS501KNO | Kanthal Corporation | NCR | NCR | 325 | N/A | Labelled | NCR | Collins
RC Coupling Box | N/A | TUV SUD Canada | NCR | NCR | 326 | GEMC 326 | Labelled | NCR | Collins
1.5GHz-18GHz High Pass Filter | 5HC1500/18000-3-PP | Trilithic Inc | NCR | NCR | 327 | 200127168 | Labelled | NCR | Collins
2.5GHz-18GHz High Pass Filter | 6HC2500/18000-3-KK | Trilithic Inc | NCR | NCR | 328 | 200128190 | Labelled | NCR | Collins
HPF 6.4GHz-18GHz | HPM50112 | Micro-Tronics | NCR | NCR | 329 | 11 | Labelled | NCR | Collins
Ontario Hydro Surge Generator | TIG-7802 | Criterion Instruments | NCR | NCR | 535 | 23 | Rental | On file | Returned | X | N/A
Ontario Hydro Line Trap | LT-1 | Criterion Instruments | NCR | NCR | 536 | NA | Rental | NA | Returned | X | E/H
Biconical Antenna | EM-6913 | Electro-Metrics | NCR | NCR | 544 | 168 | Rental | On file | Returned | X | Y / E
Log Periodic Antenna | EM-6951 | Electro-Metrics | NCR | NCR | 545 | 443 | Rental | On file | Returned | X | Y / E
Variac | PWRSTA 3PN126 | Powerstat | NCR | NCR | 6032 | SPEC DP124202 | Labelled | NCR | Collins |  | N/A
Broad Band Sampling Volt Meter | 3406A | HP | NCR | NCR | 6035 | - | Labelled | NCR | Collins |  | N/A
HP Broad Band Sampling Volt Meter | 3406A | HP | NCR | NCR | 6035 | - | Labelled | NCR | Collins |  | N/A
Electronic Termaline Coaxial Resistor | 8164 | Bird | NCR | NCR | 6072 | 2376 | Labelled | NCR | Collins |  | N/A
Biconical Antenna 20 to 300MHz with Tripod Adapter | HK116 | R&S | 2015-02-10 | 2017-02-10 | 6116 | 825329/03 | Labelled | A2LA | Collins |  | 1/A
Log. Periodic Antenna 200 to 1300MHz; with Tripod Adapter | HL223 | R&S | NCR | NCR | 6117 | 825584/011 | Labelled | NCR | Collins |  | Y / E
Remote Control Turntable (in-house built) |  | Marstech | NCR | NCR | 6120 | - | Labelled | NCR | Collins |  | N/A
30dB 1W Reference Attenuator | 11708A | HP | NCR | NCR | 6130 | 7568 | Labelled | NCR | Collins |  | N/A
Narda 20dB 20W Med. Pwr Attenuator | 766-20 | Narda | NCR | NCR | 6131 | 7297 | Labelled | NCR | Collins |  | N/A
LISN Test Box (in-house built) |  | Marstech | NCR | NCR | 6137 | - | Labelled | NCR | Collins |  | N/A
Attenuator DC-1.5GHz, 30dB, 100W, 50 ohm | PE7021-30 | Pasternack | NCR | NCR | 6250 | - | Labelled | NCR | Collins |  | N/A
Pasternack, Amplifier 2-1000 MHZ | PE1500 | Pasternack | NCR | NCR | 6258 | - | Labelled | NCR | Collins |  | Spare, not in use
FM/AM modulation meter | TF2300B | Marconi | NCR | NCR | 6259 | - | Labelled | NCR | Collins |  | N/A
LISN Test Box (in-house built) |  | Marstech | NCR | NCR | 6311 | - | Labelled | NCR | Collins |  | N/A
G-Strip | TEM Cell | Keytek | NCR | NCR | 6322 | G-2501 | Labelled | NCR | Collins |  | N/A
Preamplifier 100KHz - 1 GHz | GPA 304 | Comtest | NCR | NCR | 6328 | GPA304-1031 | Labelled | NCR | Collins |  | N/A
Panasonic Video Monitor | WV-CM1450 | Panasonic | NCR | NCR | 6329 | 27A04803 | Labelled | NCR | Collins |  | N/A
Rhode & Schwartz Signal Generator 9KHz - 1040GHz | SMY01 | R&S | 2018-02-21 | 2020-02-21 | 6330 | 840490/028 | Labelled | NCR | Collins |  | 2/A
Kalmus RF Amplifier | 737LC | Kalmus | NCR | NCR | 6331 | 7503B-1 | Labelled | NCR | Collins |  | N/A
Video Camera |  |  | NCR | NCR | 6332 | - | Labelled | NCR | Collins |  | N/A
Power Meter | 432A | HP | NCR | NCR | 6333 | 1502UO2966 | Labelled | NCR | Collins |  | N/A
Attenuator | VS-30A | Texscan | NCR | NCR | 6334 | A9851 | Labelled | NCR | Collins |  | N/A
Signal Generator | 8640B | HP | NCR | NCR | 6335 | 1638A05588 | Labelled | NCR | Collins |  | N/A
Spectrum Analyzer | 491 | Techtronix | NCR | NCR | 6336 | B294303 | Labelled | NCR | Collins |  | N/A
Hewlett Packard EMC Analyzer | 8591EM | HP | NCR | NCR | 6340 | 3639A00995 | Labelled | NIST Traceable | Collins |  | N/A
Comtest External Amp/Switch Sub System |  | Comtest | NCR | NCR | 6341 | BCS305-101027 | Labelled | NCR | Collins |  | N/A
Comtest Amp/Switch Sub System | GPA301 | Comtest | NCR | NCR | 6342 | BCS320-1060 | Labelled | NCR | Collins |  | N/A
IFR Spectrum Analyzer | AN940 | IFR | NCR | NCR | 6350 | 635001039 | Labelled | A2LA | ZZZ |  | N/A
HP Preamp | HP-8449B | HP | ZZZ | ZZZ | 6351 | 3008A00378 | Labelled | A2LA | Collins |  | Y / E
FCC Absorbing Clamp | F-201-23mm | Fischer Custom Communications | 2018-10-16 | 2020-10-16 | 6353 | 41 | Labelled | A2LA | Collins |  | Y / H
Hewlett Packard Preselector | 8445B | HP | NCR | NCR | 6364 | 1704A02562 | Labelled | NCR | Collins |  | N/A
Q-Par 1.5-18 GHz Horn | 6878/24 | Q-par | 2016-09-22 | 2018-09-22 | 6365 | 1721 | Labelled | A2LA | Collins |  | Y / E
Topaz Line Noise Suppressing Transformer | 91001-31 | Topaz | NCR | NCR | 6366 | - | Labelled | NCR | Collins |  | N/A
A.H. Systems Horn Antenna 18 GHz - 26.5 GHz | SAS-572 | AH | 2018-10-23 | 2020-10-23 | 6371 | 164 | Labelled | A2LA | Collins |  | 1/A
Q-Par Horn Antenna (2 to 18 GHz Freq.) | WBH218HN | Q-par | 2018-02-27 | 2020-02-27 | 6375 | 4171 | Labelled | NCR | Collins |  | 2/A
Q-Par Horn Antenna (26.5 to 40GHz Freq.) | QSH22F20S | Q-par | 2017-12-14 | 2019-12-14 | 6376 | 11072013 | Labelled | A2LA | Collins |  | 1/A
OML Mixer - 26.5 - 40G OML Diplexer | M28HWD DPL.313A | OML | NCR | NCR | 6377 | Ka31114-1 | Labelled | NCR | Collins |  | N/A
Antenna Mast |  | Marstech | NCR | NCR | 6388 | - | Labelled | NCR | Collins |  | N/A
Chase 9KHz - 1GHz 30db pre-amp and power supply | CPA9231 | Chase | Limited | Limited | 6403 | 3106 | Labelled | A2LA | Collins |  | 1/A
Tektronix Med. Power 10dB 2W Attenuator | 011-0085-00 | Techtronix | NCR | NCR | 6404 | - | Labelled | NCR | Collins |  | N/A
Innet Med. Power 10dB Attenuator | 12N-10 | Innet | NCR | NCR | 6405 | - | Labelled | NCR | Collins |  | N/A
Isolation Transformer | HAMM 1650K | Fischer Custom Communications | NCR | NCR | 6099 | 115V | Labelled | NCR | Collins |  | N/A